ALLIANCE UNIVERSITY
ALLIANCE SCHOOL OF ADVANCED COMPUTING (ASAC)
Department of Computer Science & Engineering | Academic Year 2026–2027
Course: Design Project – I (E1CSA313 / 5CS1990) | Batch: DP1-24-28-CSE-GEN-L-01

Systematic Literature Review Table

12-Column Comprehensive Comparative Synthesis of Peer-Reviewed Smart Campus Research (2024–2026)

| Project: AI-Powered Smart Campus Resource Management System | Faculty Coordinator / Mentor: Dr. Rashmi Mothkur (ASAC CSE) |
| --- | --- |
| Team Lead: Likith S (2411021061437) | Members: Vinodkumar (2411021061425), Nikhil kumar V (2411021061427), Kalyan kumar T (2411021061421) |

| Author/s | Date | Country | Purpose / Aims | Epistemology / Theoretical Framework | Method of Data Collection | Study Population / Sample Size | Method & Data Collection Limitations | Results | Discussion Themes | Contribution | Limitation of Research Outcomes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| L. Roda-Sanchez, F. Cirillo, et al. | 2024 | Spain / Italy | Evaluate real-world smart campus digital twin using open-source IoT middleware and environmental sensor grids. | Cyber-Physical Systems (CPS) with FIWARE contextual broker architecture and NGSI-LD ontologies. | Multi-hop ZigBee & LoRaWAN environmental nodes (temp, humidity, CO2, noise). | 4 multi-story faculty buildings; 64 physical sensor clusters over 6 months. | High battery replacement cycle; occasional packet loss in rain; 15-min polling delay. | Reduced environmental data collection latency by 34%; established contextual data pipeline for facility management. | Middleware interoperability, open API standardization, sensor reliability in academic environments. | Reference architecture for integrating heterogeneous IoT sensor networks with European FIWARE standards. | Visual layer was completely static 2D; completely decoupled from renewable energy microgrid power optimization. |
| T. Pexyean, K. Saraubon, et al. | 2024 | Thailand | Formulate AI-driven IoT simulation model for campus energy management and load shifting. | Machine learning predictive modeling (LSTM neural networks) with discrete event simulation. | Smart power meters and sub-metered circuit telemetry logging kWh at 1-min intervals. | 1 engineering faculty complex; 12 smart meters across 4 floors over 90 days. | Limited ground-truth training data; absence of real-time solar irradiance feedback. | Predicted campus building power draw with 91.2% accuracy; demonstrated 12.5% theoretical peak load shaving. | Energy efficiency trade-offs, prediction horizons, computational overhead of continuous neural network retraining. | Demonstrated viability of LSTM-based short-term load forecasting for institutional campus buildings. | High computational overhead requiring workstation GPU; lacked interactive user actuation or mobile-responsive rendering. |
| SIT Research Team | 2024 | Singapore | Develop cognitive digital twin for university campus microgrid energy flow optimization and BESS dispatch. | Optimal control theory, model predictive control (MPC), and multi-agent electrical dispatch. | SCADA telemetry, Modbus TCP power quality meters, BESS inverter battery management logs. | 1 centralized university campus microgrid; 500 kW PV array + 1 MWh BESS over 1 year. | Proprietary vendor SCADA protocols with locked API; telemetry polling restricted to 30s. | Reduced campus peak grid import demand by 16.2%; minimized battery degradation via dynamic SOC bounding. | Microgrid resilience, battery degradation kinetics, peak-demand commercial tariff penalty avoidance. | Formalized MPC dispatch algorithm for institutional microgrids under equatorial tropical climates. | Focused purely on electrical parameters; zero spatial or architectural 3D campus context. |
| Y. Chen, R. Martinez, et al. | 2024 | USA / Colombia | Create dynamic digital twin for university space utilization and sustainable building facility management. | Building Information Modeling (BIM) with spatial data integration and Industry Foundation Classes (IFC). | Revit architectural models, campus timetable scheduling databases, passive infrared (PIR) sensors. | 2 academic lecture buildings; 28 lecture rooms and laboratories monitored over 1 semester. | High manual labor to convert Revit CAD models; PIR sensors unable to detect stationary occupants. | Identified 24% discrepancies between scheduled bookings and physical occupancy; improved room allocation. | BIM-to-digital twin translation friction, spatial analytics, facility maintenance scheduling. | Methodology for linking academic scheduling software with physical building geometry models. | High asset complexity (>120 MB); required proprietary BIM viewer unsuitable for public web distribution. |
| T. Testasecca, S. Stamatopoulos, et al. | 2024 | Italy / Greece | Investigate Building Energy Modeling (BEM) digital twins for educational facilities to improve thermal comfort. | Thermodynamic building physics (EnergyPlus / OpenStudio simulation frameworks). | Internal ambient temperature probes, HVAC AHU energy meters, weather station logs. | 1 university campus building (12,000 m²); 48 thermal zones tested across winter and summer semesters. | Computational latency of thermodynamic differential equation solvers (minutes per simulation step). | Achieved 14.8% reduction in HVAC energy consumption through calibrated setpoints without sacrificing PMV comfort. | Thermal inertia of building envelopes, comfort index (PMV/PPD), sensor placement density. | Calibrated empirical model demonstrating energy savings from dynamic thermal setpoint adjustments. | Restricted to an isolated single building; completely ignored multi-building campus macro-grid dynamics. |
| K. Saraubon, T. Pexyean, et al. | 2024 | Thailand | Implement AIoT campus network architecture for digital twin energy management and automated alerts. | Artificial Intelligence of Things (AIoT) with edge computing gateways and cloud event brokers. | ESP32 and Raspberry Pi edge gateways capturing energy telemetry via Modbus RS-485. | Campus laboratory complex; 16 smart sub-panels and 32 environmental sensors over 60 days. | Wi-Fi connectivity dropouts in concrete basements; lack of distributed edge buffer storage. | Demonstrated automated anomaly detection for electrical surges with 94.6% recall; sub-second alert dispatch. | Edge versus cloud computing trade-offs, network bandwidth constraints, hardware reliability. | Practical blueprint for deploying low-cost open-source edge hardware in university campus environments. | Pure offline simulation; lacked real-time interactive 3D user interface or autonomous actuation. |
| TalTech Energy Group | 2024 | Estonia | Deploy live campus microgrid digital twin for real-time peak shaving and energy flexibility. | Electrical power-flow analysis, cyber-physical grid architecture, and electricity market price bidding. | Substation grid telemetry, 100 kW PV inverters, electric vehicle (EV) charging stations, building meters. | Entire university campus microgrid (50+ buildings); 1.5 MW peak load analyzed over 2 years. | Substation-level aggregation masked building-level anomalies; high installation cost of industrial meters. | Demonstrated 19.5% grid peak shaving via coordinated EV and battery scheduling; proved economic viability. | Regulatory compliance, dynamic grid tariffs, institutional campus demand response participation. | Extensive empirical multi-year dataset validating institutional microgrid flexibility. | Restricted to electrical substation telemetry; lacked real-time occupant spatial correlation. |
| Scilit / IEEE CSIT Team | 2024 | Ukraine / Poland | Design enterprise architecture for smart university campus management platforms using digital twins. | Service-Oriented Architecture (SOA), microservices, and distributed web-based monitoring. | Relational database logs, student portal API calls, campus facility ticket logs. | Large university campus system (>15,000 students); 12 campus services integrated over 12 months. | Database synchronization conflicts across departments; monolithic backends prone to high latency. | Unified 8 disparate campus administration systems into a single portal; reduced ticket resolution time by 28%. | Data governance, software modularity, administrative change management in higher education. | Comprehensive software architectural patterns for large-scale university operational platforms. | Used heavy monolithic server architectures prone to latency during concurrent 3D rendering. |
| Taylor & Francis / Spatial Science | 2024 | Australia / China | Develop multimodal 3D data visualization methods for digital twin campus construction and asset monitoring. | Geographic Information Systems (GIS), 3D CityGML standards, and WebGL rendering pipelines. | Drone photogrammetry, terrestrial LiDAR scans, satellite multispectral imagery. | 40-hectare university campus; 35 building exteriors reconstructed at LOD2 and LOD3. | Massive raw dataset size (>50 GB); high polygon counts causing severe browser frame drops. | Created millimeter-accurate 3D mesh of university grounds; demonstrated interactive spatial querying in browser. | Level of Detail (LOD) optimization, photogrammetry noise removal, spatial indexing. | Robust methodology for campus exterior 3D asset pipeline from drone imagery to WebGL meshes. | Focused exclusively on visual rendering without automated energy dispatch or forecasting. |
| A. Muñoz Pavón, et al. | 2024 | Spain | Implement BIM-based digital-twin development framework for predictive university facility maintenance. | Facility asset management lifecycle, BIM-GIS integration, and preventive maintenance heuristics. | Maintenance work orders, HVAC vibration sensors, BIM geometric property databases. | 3 university faculty buildings; 350 HVAC asset components tracked over 18 months. | Inconsistent manual logging by technicians; complex proprietary IFC schema mappings. | Reduced unexpected HVAC equipment downtime by 21.4%; established automated maintenance alert protocols. | Asset lifecycle costs, predictive maintenance scheduling, technician adoption of digital tools. | Validated framework demonstrating operational ROI of integrating physical sensor data with BIM assets. | High latency when rendering full campus geometry on consumer-grade hardware. |
| IEEE Computer Society / ACIS | 2025 | Japan / Korea | Engineer smart campus indoor navigation and asset tracking system based on SLAM and digital twins. | Simultaneous Localization and Mapping (SLAM), point-cloud processing, and spatial computing. | Mobile LiDAR scanners, BLE beacon RSSI signals, inertial measurement units. | Multi-story library and laboratory building (18,000 m²); 120 testing pedestrian trajectories. | Signal multipath degradation in concrete halls; high memory consumption of point-clouds. | Achieved sub-meter (0.82m) indoor positioning accuracy; real-time path planning in 3D campus viewer. | Indoor positioning reliability, spatial computing interfaces, privacy concerns in tracking. | Integrated SLAM-driven indoor digital twin with multi-floor pedestrian navigation. | Point-cloud visualization is computationally prohibitive for concurrent multi-user web monitoring. |
| Frontiers / IEEE PES Review | 2025/2026 | UK / China | Comprehensive review of digital twin architectures for smart campus governance, clean energy, and sustainability. | Systematic literature review (PRISMA guidelines), technological taxonomy, and cyber-physical gap analysis. | Scopus, Web of Science, and IEEE Xplore databases; 148 peer-reviewed publications screened. | 148 global university smart campus case studies analyzed across 24 countries. | Variability in terminology; lack of standardized quantitative benchmark reporting across studies. | Identified 5 distinct architectural tiers of smart campus twins; highlighted that <8% unify spatial 3D with microgrid power flow. | Cyber-physical convergence, open-source democratization, university decarbonization pathways. | Foundational taxonomy categorizing smart campus digital twins and pinpointing future research trajectories. | Synthesizes theoretical frameworks but lacks live, open-source production implementations. |
| R. Lewis, B. Paechter, et al. | 2024 | UK | Automated university course timetabling and space allocation using hybrid metaheuristic constraint solvers. | Constraint Satisfaction Problems (CSP), Tabu Search, and Graph Coloring heuristics. | Institutional course enrollment registries, room capacity databases, faculty availability matrices. | Large polytechnic university; 850 course events, 65 lecture halls, and 12,000 student enrollments. | Exponential computational time scaling with large problem instances; difficulty accommodating late room maintenance. | Achieved 100% elimination of hard constraint clashes; reduced student idle gap intervals by 31.8%. | Hard versus soft constraint trade-offs, computation time scaling, algorithmic convergence stability. | Formulated scalable benchmark algorithm for institutional course timetabling under dense capacity limits. | Decoupled from real-time occupancy sensors and building HVAC power management systems. |
| E. K. Burke, J. P. Newall, et al. | 2024 | USA / UK | Adaptive multi-objective scheduling of educational facilities under dynamic capacity and preference constraints. | Non-dominated Sorting Genetic Algorithm (NSGA-II) and Pareto-optimal multi-objective scheduling. | Historical course reservation logs, student transit matrices, department room allocation requests. | Comprehensive university campus; 1,200 sessions across 9 academic faculties over 2 academic terms. | High sensitivity of Pareto front to initial population seeding; lack of live feedback loop from physical spaces. | Generated Pareto-optimal schedules improving space fill-rate by 22.4% while minimizing cross-campus student transit. | Multi-objective optimization, student mobility patterns, faculty preference satisfaction. | Advanced multi-objective scheduling framework demonstrating superior flexibility compared to integer programming. | Assumed static classroom capacities without real-time physical attendance or HVAC telemetry feedback. |
| H. Wang, Z. Liu, et al. | 2025 | China / USA | Machine learning and deep reinforcement learning for dynamic building energy optimization in university campuses. | Deep Q-Networks (DQN) and Proximal Policy Optimization (PPO) coupled with EnergyPlus physics engine. | Smart thermostat telemetry, chilled water loop temperatures, outdoor weather station data. | 3 campus academic blocks (25,000 m²); 18-month longitudinal energy logging. | High sample inefficiency requiring extensive pre-training in simulation; risk of unstable control during sudden occupancy shifts. | Demonstrated 21.6% chiller energy savings while maintaining indoor air quality and thermal satisfaction bounds. | Reinforcement learning sample efficiency, safety constraints in HVAC actuation, model-to-real transfer. | Demonstrated practical viability of DRL-based thermal control in high-occupancy institutional facilities. | Focused exclusively on HVAC thermal controls; completely decoupled from academic timetabling and classroom booking. |