ALLIANCE UNIVERSITY · DEPARTMENT OF COMPUTER SCIENCE & ENGINEERING · CAPSTONE 2026

Smart Campus Digital Twin

Full Technical Architecture, Frontend/Backend Systems, Physical Campus Research & Deployment Specification

| Project Status: Production Ready & Verified Live | Live URL: https://smart-campus-digital-twin-eight.vercel.app |
| --- | --- |
| Physical Campus: Alliance University, Anekal Campus (60 Acres) | 3D Model Assets: Blender 4.3 (.blend) + WebGL GLTF (.glb) |

1. Executive Summary & Project Vision

The Alliance University Smart Campus Digital Twin is a cyber-physical spatial management platform developed as a flagship capstone engineering project for the Department of Computer Science & Engineering (Class of 2026). It integrates real-time Three.js WebGL simulation, 1,000+ streaming IoT sensor feeds, 480 kWp rooftop solar microgrid routing, predictive load forecasting, autonomous spatial allocation, and direct facility actuator overrides across the 60-acre Anekal campus in Bengaluru.

2. Physical Campus Research & Geographic Grounding

Unlike generic 3D dashboards, this platform is mathematically grounded in the real-world physical layout of Alliance University's central campus on Chandapura-Anekal Main Road, Bengaluru (Coordinates: 12.845° N, 77.684° E). The spatial hierarchy and road topology were reconstructed from Google Maps satellite imagery, aerial surveys, and campus ground observations:

Campus Gateway: The campus entry point is aligned alongside Senior City, feeding into the primary campus arterial boulevard.

Admin Block (ADMIN): Positioned immediately on the right upon entering. Features a signature neoclassical circular dome, colonnade entry portico, and single-floor administrative offices.

Parking Quad: Multi-bay vehicle parking zone positioned immediately on the left across from the Admin Block.

Central Boulevard: A dual-carriageway road stretching ~100 meters inwards, lined with architectural shade trees and a central landscaped median.

Central Library (LIB): Located on the left side of the boulevard. A 4-floor, 50,000 sq ft circular rotunda dome building serving as the academic resource hub.

Engineering Block (ACED): The main road turns left leading straight to the 7-floor Alliance College of Engineering & Design (ACED) building, housing CSE, AI/ML, and Robotics laboratories.

Athletic Complex: Located directly opposite the 7-floor B.Tech block on an open field, containing cricket practice nets, a volleyball court, and a multi-sport football/cricket ground.

Residential Halls: Men's and Women's residential wings positioned with green perimeter buffer zones.

Microgrid & STP: 480 kWp rooftop solar photovoltaic arrays, 1.2 MWh Battery Energy Storage System (BESS), and on-site Sewage Treatment Plant (STP) water recirculation loop.

3. Frontend Architecture & Technology Stack

The frontend is engineered with React 19, TypeScript, and Vite, leveraging Tailwind CSS with custom Glassmorphism and WebGL hardware acceleration to deliver 60 FPS interactive graphics on both desktop and mobile devices.

| Component / Layer | Technology | Architectural Role |
| --- | --- | --- |
| Core Application | React 19, TypeScript, Vite | SPA state coordination, reactive IoT telemetry hooks, fast HMR |
| WebGL 3D Engine | Three.js, @react-three/fiber | 60 FPS hardware-accelerated 3D canvas, lighting, shadow maps |
| 3D Camera & Controls | @react-three/drei (OrbitControls) | Architectural waypoints, bounded orbital navigation, damping |
| Design System | Tailwind CSS v3, CSS Variables | Wispr Flow glassmorphism, backdrop blurs, 5 live themes |
| Digital Twin Panel | DigitalTwinPanel.tsx | Mode switcher (Thermal/Occupancy/Energy), realistic GLB loader |
| Actuator Dock | ManualControlDock.tsx | Floating macOS dock with auto-hide on scroll (>80px) |
| Microgrid Sankey | SankeyEnergyFlow.tsx | Real-time energy routing between solar PV, BESS, and campus loads |
| Predictive Charting | EnergyTrendChart.tsx | 24-hour demand forecasting vs. solar generation curves |
| Space Allocation | RoomTimeline.tsx, MiniMapCard.tsx | Classroom scheduling and ghost-booking reclamation |
| Tactile Sound Synth | Web Audio API (useSonar.ts) | Procedural spatial audio feedback without external audio files |
| Brand Identity | PWA Manifest + 7 Favicon Suite | Alliance University crest, mobile home-screen icons, web manifest |

4. Backend, Simulation & Data Services

The digital twin operates on a coupled cyber-physical simulation engine that computes dynamic energy, thermal, and occupancy states in real time:

Physics-Coupled IoT Telemetry Engine: Real-time simulation of 1,000+ IoT beacons. Solar irradiance is mathematically derived from sun altitude (peaking at solar noon with 480 kWp yield). Building thermal absorption and HVAC loads scale dynamically with building occupancy and outdoor temperature.

Autonomous Campus Evolution Agent: Background loop (campusEvolutionAgent.ts) that autonomously scans spatial telemetry, flags unoccupied conditioned rooms, and recommends automated energy reallocations.

Headless Blender Python Automation: Custom Python pipeline (perfect_alliance_campus.py) executed inside Blender 4.3 to procedurally construct, texture, light, and export both the .blend file and production-ready .glb asset.

Edge Delivery & Single-File Bundling: Deployed on Vercel's global CDN with asset optimization, Brotli compression, and single-file bundling via @originjs/vite-plugin-singlefile for lightning-fast sub-second loading.

5. Manual Facility Actuators & Interactive Controls

Authorized facility managers can override automated routines using the floating macOS-style control dock:

Solar Time-of-Day Slider: Scrub the sun from 06:00 to 22:00 to simulate daylight, golden hour, and nighttime operations with realistic starfields and building illumination.

BESS Battery State: Switch the 1.2 MWh storage bank between Auto, Grid Charging, and 310 kW Peak-Shaving Discharge.

Water Circulation Pump: Manually activate or pause the 421 kL main Sewage Treatment Plant lift pump.

Chiller Setpoint: Regulate central chilled water temperatures from 19°C to 26°C with immediate feedback on predicted campus power demand.

Floor Plate Explosion: Adjust floor separation from 0% to 100% to inspect individual internal floor plates without displacing building geometry.

6. Key Engineering Challenges Solved

OrbitControls Wheel Trapping: Resolved by unbinding default wheel zoom in Three.js so users can freely scroll the web page, while offering dedicated HUD Zoom In/Out (+ / -) buttons and Shift-key wheel zoom.

Collision-Free Floating Dock: Positioned the scroll CTA symmetrically at bottom-24 right-8 and added auto-hide on scroll (>80px) to prevent UI clutter.

Fixed Navbar Header Offsetting: Implemented scroll-padding-top: 5rem in CSS and scroll-mt-20 on section anchors so navigating to Telemetry or Energy sections never obscures section titles.

Branding & Favicon Suite: Integrated 7-item favicon suite (SVG, ICO, PNGs, Apple Touch, PWA manifest) with official Alliance University crest.

7. Project Directory & File Manifest

| File Path | Description & Role |
| --- | --- |
| src/three/CampusScene.tsx | Three.js WebGL scene, lighting, dynamic sun path, OrbitControls scroll decoupling |
| src/three/Building.tsx | Parametric 3D building rendering with heatmaps, floors, windows, and domes |
| src/three/CustomModelRenderer.tsx | Loads and renders the realistic Blender GLB campus export |
| src/components/DigitalTwinPanel.tsx | Master 3D panel with HUD zoom buttons, realistic/telemetry mode switcher |
| src/components/ManualControlDock.tsx | Floating facility actuator dock with scroll-aware auto-hide (>80px) |
| src/components/BentoStats.tsx | Live high-density IoT telemetry bento grid with streaming KPIs |
| src/components/SankeyEnergyFlow.tsx | Microgrid power flow routing (Solar PV → BESS → Campus Loads) |
| src/components/EnergyTrendChart.tsx | 24-hour predictive load forecasting vs. solar generation yield curve |
| src/components/RoomTimeline.tsx | Classroom schedule optimization and space utilization matrix |
| src/components/Navbar.tsx & ThemeSwitcher.tsx | Top navigation bar with 5 live theme switchers (Wispr, Cyberpunk, etc.) |
| alliance_university_campus.blend | Full editable 3D Blender 4.3 master project file with lights and materials |
| alliance_university_campus.glb | Optimized WebGL binary asset for high-speed browser rendering |
| perfect_alliance_campus.py | Procedural Python script to rebuild the entire Blender 3D campus model |